## Sheet1
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 3
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | Gali o. 5, Shakti Vihar School Road in Division Sarita Vihar New Delhi. | 07.05.2018 at 3:30 PM | Non-Fatal | The person / owner of Ground Floor has constructed chajja and was reportedly installing a board over newly constructed chujja of roof top of Durga Jewellers at Gali No.5, Shakti Vihar got in vicinity of HT Overhead 11 KV insulated conductor that was guarded with guarding wires and somehow got electric shock. The circuit tripped immediately. After the accident, person was taken to Trauma Hospital by local people. Mr. Amrit, injured is stable now and is recovering fast in Safdarjung Hospital. | NIL | NIL | NIL | NIL | NIL
2 | Near H.No. 223, Satya Niketan, JJ Colony, New Delhi-110021. | 12.05.2018 at 10:28 AM | Fatal | A telephonic complaint fom Sh. Jagdish from H.No. 223, Satya Niketan was received at Complaint Centre Moti Bagh South on 12.05.2018 at 10:28 AM which was given to Sh Surgyan, Lineman who rushed to site and reported that he visited the site and checked in the presence of police officials that there was no current at site. The supply was disconnected for checking the current. At side, there was a dog found unconscious. On the instruction of police officials, he also dug the earth and no wire / conductor pertaining to BSES found beneath the ground, therefore, there is no possibility of leakage from any conductor / wire concerned with BRPL. While an external earth wire also found at the place of accident which is routed towards H.No. 223, SatyaNiketan.
3 | Near Foothpath Oppoite Guru Gobind Singh Hospital | 12.05.2018 at 11:56 Hours (Approx) | Non-Fatal | As reported by the people at site, while playing, Pappu aged about 9-10 years (Approx) entered into the dug trench and pierced the partially exposed cable by iron nail into it assuming it as a water pipe, resulting into flash and burn injuries. 33 KV cable digging (EHV) work carried out by M/S H.S.Power / Sterlite Co. Ltd. It also came to know from people at site, parents / relatives of victim took him to the hospital for further treatment. Photographs have been taken at site and iron nail recovered
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  |  | - | 155653 | 155653 | 155646 | 7 | 155653 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  |  |  | 817 | 817 | 817 | 0 | 817 | 0
Continuous power supply failure requiring replacement of distribution transformer. |  |  |  | 9 | 9 | 9 | 0 | 9 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) |  |  |  | 47810 | 47810 | 47810 | 0 | 47810 | 0
Continuous Schduled Power Outage |  |  |  | 734 | 734 | 734 | 0 | 734 | 0
Replacement of Burnt Meter or Stolen Meter |  |  | 2 | 4672 | 4674 | 4415 | 259 | 4674 | 0
FORMAT IV: Quality of Power Supply
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem |  | 4 hours | 0 | 7235 | 7235 | 7235 | 0 | 7235 | 0
Tap setting of transformer
Repair of Distribution Line/transformer/ capacitor
Installation and Up gradation of High Tension/ Low Tension System
FORMAT V: Complaint about meters
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast |  | Within fifteen days | 2650 | 1193 | 3843 | 668 | 62 | 730 | 3113
Complaint lodged for accuracy test of meter-Slow |  | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter |  | Within fifteen days | 3196 | 2181 | 5377 | 1506 | 257 | 1763 | 3614
Complaint lodged for burnt meter |  | Restoration of supply with 3hrs and meter to be replaced within 3days. | 1715 | 4808 | 6523 | 2606 | 1788 | 4394 | 2129
Complaint lodged for stolen meter |  |  | 22 | 55 | 77 | 34 | 19 | 53 | 24
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required |  | 7 days | 5127 | 20314 | 25441 | 19230 | 1122 | 20352 | 5089
New Connection where RoW or road Cutting permission is required |  | 15 days | 57 | 20 | 77 | 14 | 0 | 14 | 63
New Connection where no RoW or road Cutting permission is required |  | 7 days | 336 | 318 | 654 | 262 | 12 | 274 | 380
New Connection where RoW or road Cutting permission is required |  | 15 days | 57 | 8 | 65 | 6 | 0 | 6 | 59
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) |  | 15 days from receipt of payment
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. |  | Within 2 months from receipt of payment
3. Electrified areas (where new distribtion transformer is required) |  | Within 4 months from receipt of payment
4. Electrified Areas (where existing 11 KV network needs to be augmented) |  | 15 days
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) |  | 15 days
New Connections |  |  | 5184 | 20334 | 25518 | 19244 | 1122 | 20366 | 5152
Additional Load |  |  | 393 | 326 | 719 | 268 | 12 | 280 | 439
FORMAT VIII: Connection in un-electrified areas
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) |  | Within 4 months from Commission's approval | 16 | 40 | 56 | 24 | 0 | 24 | 32
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) |  | Within 12 months from Commission's approval
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name |  | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 519 | 3670 | 4189 | 3552 | 26 | 3578 | 611
Load Reduction |  | Within ten days of acceptance of application, shall be effective from next billing cycle | 135 | 2479 | 2614 | 2375 | 17 | 2392 | 222
Change of Category |  | As per Regulation 17 (5) | 91 | 428 | 519 | 382 | 28 | 410 | 109
Incase connection is denied after receipt of payment against demand note |  | - | 128 | 259 | 387 | 210 | 135 | 345 | 42
Connection energized through Loop |  | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent |  | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing |  | Only one bill in a Financial Year | 475 | 589 | 1064 | 327 | 42 | 369 | 695
Final bill for vacation of premises / change of occupance. |  | 5 days | 60 | 110 | 170 | 83 | 2 | 85 | 85
Non payment of dues by the consumer |  | 15 days | 30 | 236 | 266 | 231 | 0 | 231 | 35
Request for reconnection |  | 24hrs | 570 | 1005 | 1575 | 234 | 772 | 1006 | 569
Consumer wanting disconnection |  | 5 days | 2115 | 4443 | 6558 | 2784 | 1407 | 4191 | 2367
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month |  | Total number of distribution transformers |  | Number of Distribution transformers failed |  | % Failure rate of distribution transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
7027 |  | 15 |  | 7042 |  | 1 |  | 0.014201
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered
FORMAT XII: Failure of Power Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
No. of power transformers at the beginning of the month |  | No. of power transformers added during the month |  | Total number of power transformers |  | Number of power transformers failed |  | % Failure rate of power transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
249 |  | 1 |  | 250 |  | 1 |  | 40%
Note= 1 PTR failed at okhla ph-2 Grid and was replaced by spare one
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) |  | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[6 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 155653 |  | 155646 | 7 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 817 |  | 817 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 9 |  | 8 | 1 | 88.89%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 47810 |  | 47810 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 734 |  | 734 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 4674 |  | 4415 | 259 | 94.46%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 08:04 hr
| Restoration of supply by 6:00 PM |  |  | NIL
3 | Faults in street light maintained by the licensee |  |  | 2583 |  | 2583 | 0
Reliability Indices
4 | SAIFI |  |  | 0.136
| SAIDI |  |  | 0.159
| CAIDI |  |  | 1.1691
5 | Frequency variation |  |  | 0 |  | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 |  | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 |  | 0 | 0 | 0
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default.
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default.
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment.
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default.
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts
10 | Power Supply Failure | Power Supply Failure
11 | Total | Total
FORMAT XV: Unauthorized Use of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
No. of Cases Booked |  | No. of Cases where UUE is established by the Licensee |  | No. of cases where appeal filed by the consumer before the Appellate Authority |  | No. of cases decided by the Appellate Authority in favor of the Licensee |  | No. of cases decided by the Appellate Authority in the favor of the consumer
229 |  | 67 |  | 0 |  | 0 |  | 0
FORMAT XVI: Theft of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
No. of Cases Booked |  | No. of complaints filed by the Licensee in Police Station |  | No. of cases in which judgement delivered by the Special Court |  | No. of cases decided by the Special Court in favor of Licensee |  | No. of cases decided by the Special Court in favor of Consumer
1306 |  | 1022 |  | 5 |  | 0 |  | 5

## FORMAT I
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 1 | 3
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal

## FORMAT II
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | Gali o. 5, Shakti Vihar School Road in Division Sarita Vihar New Delhi. | 07.05.2018 at 3:30 PM | Non-Fatal | The person / owner of Ground Floor has constructed chajja and was reportedly installing a board over newly constructed chujja of roof top of Durga Jewellers at Gali No.5, Shakti Vihar got in vicinity of HT Overhead 11 KV insulated conductor that was guarded with guarding wires and somehow got electric shock. The circuit tripped immediately. After the accident, person was taken to Trauma Hospital by local people. Mr. Amrit, injured is stable now and is recovering fast in Safdarjung Hospital. | NIL | NIL | NIL | NIL | NIL
2 | Near H.No. 223, Satya Niketan, JJ Colony, New Delhi-110021. | 12.05.2018 at 10:28 AM | Fatal | A telephonic complaint fom Sh. Jagdish from H.No. 223, Satya Niketan was received at Complaint Centre Moti Bagh South on 12.05.2018 at 10:28 AM which was given to Sh Surgyan, Lineman who rushed to site and reported that he visited the site and checked in the presence of police officials that there was no current at site. The supply was disconnected for checking the current. At side, there was a dog found unconscious. On the instruction of police officials, he also dug the earth and no wire / conductor pertaining to BSES found beneath the ground, therefore, there is no possibility of leakage from any conductor / wire concerned with BRPL. While an external earth wire also found at the place of accident which is routed towards H.No. 223, SatyaNiketan. | 0 | 0 | 0 | 0 | 0
3 | Near Foothpath Oppoite Guru Gobind Singh Hospital | 12.05.2018 at 11:56 Hours (Approx) | Non-Fatal | As reported by the people at site, while playing, Pappu aged about 9-10 years (Approx) entered into the dug trench and pierced the partially exposed cable by iron nail into it assuming it as a water pipe, resulting into flash and burn injuries. 33 KV cable digging (EHV) work carried out by M/S H.S.Power / Sterlite Co. Ltd. It also came to know from people at site, parents / relatives of victim took him to the hospital for further treatment. Photographs have been taken at site and iron nail recovered | 0 | 0 | 0 | 0 | 0

## FORMAT III
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | 0 | - | 155653 | 155653 | 155646 | 7 | 155653 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | 0 | 0 | 817 | 817 | 817 | 0 | 817 | 0
Continuous power supply failure requiring replacement of distribution transformer. | 0 | 0 | 9 | 9 | 9 | 0 | 9 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) | 0 | 0 | 47810 | 47810 | 47810 | 0 | 47810 | 0
Continuous Schduled Power Outage | 0 | 0 | 734 | 734 | 734 | 0 | 734 | 0
Replacement of Burnt Meter or Stolen Meter | 0 | 2 | 4672 | 4674 | 4415 | 259 | 4674 | 0

## FORMAT IV
FORMAT IV: Quality of Power Supply
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem | 4 hours | 0 | 7235 | 7235 | 7235 | 0 | 7235 | 0
Tap setting of transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repair of Distribution Line/transformer/ capacitor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation and Up gradation of High Tension/ Low Tension System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT V
FORMAT V: Complaint about meters
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast | Within fifteen days | 2650 | 1193 | 3843 | 668 | 62 | 730 | 3113
Complaint lodged for accuracy test of meter-Slow | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter | Within fifteen days | 3196 | 2181 | 5377 | 1506 | 257 | 1763 | 3614
Complaint lodged for burnt meter | Restoration of supply with 3hrs and meter to be replaced within 3days. | 1715 | 4808 | 6523 | 2606 | 1788 | 4394 | 2129
Complaint lodged for stolen meter |  | 22 | 55 | 77 | 34 | 19 | 53 | 24

## FORMAT VI
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required | 7 days | 5127 | 20314 | 25441 | 19230 | 1122 | 20352 | 5089
New Connection where RoW or road Cutting permission is required | 15 days | 57 | 20 | 77 | 14 | 0 | 14 | 63
New Connection where no RoW or road Cutting permission is required | 7 days | 336 | 318 | 654 | 262 | 12 | 274 | 380
New Connection where RoW or road Cutting permission is required | 15 days | 57 | 8 | 65 | 6 | 0 | 6 | 59

## FORMAT VII
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) | 15 days from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. | Within 2 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Electrified areas (where new distribtion transformer is required) | Within 4 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Electrified Areas (where existing 11 KV network needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connections |  | 5184 | 20334 | 25518 | 19244 | 1122 | 20366 | 5152
Additional Load |  | 393 | 326 | 719 | 268 | 12 | 280 | 439

## FORMAT VIII
FORMAT VIII: Connection in un-electrified areas
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) | Within 4 months from Commission's approval | 16 | 40 | 56 | 24 | 0 | 24 | 32
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT IX
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 519 | 3670 | 4189 | 3552 | 26 | 3578 | 611
Load Reduction | Within ten days of acceptance of application, shall be effective from next billing cycle | 135 | 2479 | 2614 | 2375 | 17 | 2392 | 222
Change of Category | As per Regulation 17 (5) | 91 | 428 | 519 | 382 | 28 | 410 | 109
Incase connection is denied after receipt of payment against demand note | - | 128 | 259 | 387 | 210 | 135 | 345 | 42
Connection energized through Loop | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT X
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing | Only one bill in a Financial Year | 475 | 589 | 1064 | 327 | 42 | 369 | 695
Final bill for vacation of premises / change of occupance. | 5 days | 60 | 110 | 170 | 83 | 2 | 85 | 85
Non payment of dues by the consumer | 15 days | 30 | 236 | 266 | 231 | 0 | 231 | 35
Request for reconnection | 24hrs | 570 | 1005 | 1575 | 234 | 772 | 1006 | 569
Consumer wanting disconnection | 5 days | 2115 | 4443 | 6558 | 2784 | 1407 | 4191 | 2367

## FORMAT XI
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month | Total number of distribution transformers | Failed transformer | % Failure rate of distribution transformers
1 |  | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
7027 |  | 15 | 7042 | 1 | 1.42%
0 |  | 0 | 0 | 0 | 0%
0 |  | 0 | 0 | 0 | 0%
0 |  | 0 | 0 | 0 | 0%
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered

## FORMAT XII
FORMAT XI: Failure of Power Transformer
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
No. of power transformers at the beginning of the month | No. of power transformers added during the month | Total number of power transformers | Number of power transformers failed | % Failure rate of power transformers
1 | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
249 | 1 | 250 | 1 | 40%
0 | 0 | 0 | 0 | 0%
0 | 0 | 0 | 0 | 0%
0 | 0 | 0 | 0 | 0%

## FORMAT XIII
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[5 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 155653 | 155646 | 7 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 817 | 817 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 9 | 8 | 1 | 88.89%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 47810 | 47810 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 734 | 734 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 4674 | 4415 | 259 | 94.46%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 08:04 hr | 0 | 0 | 0%
| Restoration of supply by 6:00 PM |  |  | NIL | 0 | 0 | 0%
3 | Faults in street light maintained by the licensee |  |  | 2583 | 2583 | 0 | 0%
Reliability Indices
4 | SAIFI |  |  | 0.136 | 0 | 0 | 0%
| SAIDI |  |  | 0.159 | 0 | 0 | 0%
| CAIDI |  |  | 1.1691 | 0 | 0 | 0%
5 | Frequency variation |  |  | 0 | 0 | 0 | 0%
6 | Voltage imbalance |  |  | 0 | 0 | 0 | 0%
7 | Percentage billing mistakes |  |  | 0 | 0 | 0 | 0%

## FORMAT XIV
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-05-01
Year: |  | 2018
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections |  |  |  | 0 | 0 | 0 | 0 | 0
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default. |  | 0 | 0 | 0 | 0 | 0
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default | 0 | 0 | 0 | 0 | 0
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default. | 0 | 0 | 0 | 0 | 0
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 0 | 0 | 0 | 0 | 0
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand | 0 | 0 | 0 | 0 | 0
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default. | 0 | 0 | 0 | 0 | 0
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case | 0 | 0 | 0 | 0 | 0
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed | 0 | 0 | 0 | 0 | 0
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default | 0 | 0 | 0 | 0 | 0
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default | 0 | 0 | 0 | 0 | 0
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts |  |  | 0 | 0 | 0 | 0 | 0
10 | Power Supply Failure | Power Supply Failure |  |  | 0 | 0 | 0 | 0 | 0
11 | Total | Total |  |  | 0 | 0 | 0 | 0 | 0

## FORMAT XV
FORMAT XV: Unauthorized Use of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
No. of Cases Booked | No. of Cases where UUE is established by the Licensee | No. of cases where appeal filed by the consumer before the Appellate Authority | No. of cases decided by the Appellate Authority in favor of the Licensee | No. of cases decided by the Appellate Authority in the favor of the consumer
229 | 67 | 0 | 0 | 0

## FORMAT XVI
FORMAT XVI: Theft of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-05-01
Year: | 2018
No. of Cases Booked | No. of complaints filed by the Licensee in Police Station | No. of cases in which judgement delivered by the Special Court | No. of cases decided by the Special Court in favor of Licensee | No. of cases decided by the Special Court in favor of Consumer
1306 | 1022 | 5 | 0 | 5