## Sheet1
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
1 | 0 | 3 | 0 | 4 | 2 | 0 | 5 | 1 | 7
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | MTNL Pole near House No. D-105, Tagore Garden Extension, Opposite Janta Pushtak Bhandar | 02.07.2018 at 21:40 Hrs Approx | Fatal | As per information received from Sh. Ajit, Head Constable, Delhi Police, a person (Unknown) electrocuted at MTNL Taubular pole on which cable TV / internet networkm was lying near H.No. D-105, Tagore Garden Extension,Opposite Janta Pustak Bhandar. Lineman attended the complaint along with police personnel and stated there was current leakage from MTNL pole only which is located 15 feet approx far from our LT network, immediately, he removed all the net cable and supoort wires from MTNL pole. At site, it is further observed that BSES LT Network is lying across the street towards the houses and no leakage of any kind observed there and while MTNL pole is situated on other side of the street 15 feet approx and no BSES Cable or Network lying or connected on that MTNL pole. Police personnel took the photographs and seized the cable TV / internet box along with wires of the same barricaded the incident area and electrocuted person taken to Deen Dayal Upadhyay Hosital, Hari Nagar prior to that as information received from site. | NIL | NIL | NIL | NIL | NIL
2 | RZ-169 / 2, Kh. No. 491, F/F, Gali No. 32, Sadh Nagar, Near Pradhan Chowk, Palam Colony, New Delhi | 06.07.2018 near about 7:00 Hrs. | Non-Fatal | Sh. Manish Kumar during his personal visit on 19.07.2018 at Sect-6. Dwarka O&M Palam Office has stated that her daughter Tamanna Yaduvanshi had accidently touched the high voltage transmission wire passing near to their balcony. | NIL | NIL | NIL | NIL | NIL
3 | Jatav Mohalla, Tughlakabad Village, New Delhi. | 09.07.2018 at 11:40 AM | Fatal | On preliminary investigation, it was found that Sh. Dhiraj Kumar, Lineman got electric shock when came in contact with live street light phase (as reported by residents). He was taken to hospital by team members. It is also informed that the switching of Street light is under the jurisdiction of MCD. | NIL | NIL | NIL | NIL | NIL
4 | Area of Rajendra Park Extension, near PoonamJewellers,Nangloi, New Delhi. | 11.07.2018 | Non-Fatal | This is to inform you that we received a telephonic complaint received on call center wide no.- 4289 dated 11/07/2018 from Sh. Vinod Kumar Goel , one unknown person might be Cable Operator was trying to tie and hang some TV / Internet cable on BSES electric Pole where live High tension 11KV HVDS cable was passing through the area of Rajendra park extn , Near Poonam Jewellers ,Nangloj , New Delhi. While trying to fix the cable on the electric pole he fell on the ground and got some physical injuries. The complained comes at 10.39 AM on dated 11-07-2018 from Rajendra park extn , Near Poonam Jewellers ,Nangloj , New Delhi.The line man reach at site at 11.15AM. and found no person found at site , they found two nos stairs at site . They also check the current or leakage in pole but they did not found the current in HVDS pole. As per near by persons and complaint , one person fell down while trying to hang TV / Internet cable on BSES electric Pole and their relatives admits him to (unknown) hospital In this connection, we would like to inform you this unauthorized person or the Cable Operator did not take any permission from BSES Department for doing the above work. He was doing it illegally without prior information and permission from the concerned Department. We also send intimation letter of above incident to SHO , NIhal Vihar | NIL | NIL | NIL | NIL | NIL
5 | D-Block, JJ Colony, Madanpur Khadar, Ph-II, New Delhi. | 14.07.2018 at about 9:00 AM | Non-Fatal | The information gathered from site reveals that Smt Babli was throwing garbage containing GI wire from the roof of her house D 153 JJ Colony Ph 2 at around 09:00 AM. The GI wire touched the HT line in proximity to her house. In the process she and her son Sh Rahul got electric shock. The HT line got tripped from the RMU at Sabzi Mandi S/stn. She and her Son was taken to Sanjeevni Hospital for Treatment. | NIL | NIL | NIL | NIL | NIL
6 | H.No. E-2 / 22 A, Shivrampark, E-2 Block, Nangloi, New Delhi | 14.07.2018 at about 1:30 PM to 2:00 PM | Fatal | I would like to bring to your kind notice regarding fatal accident happened in my sub division area on 14.07.2018 (Saturday) in which one person lost his life due to electrocution at E-2 /22A Shivram Park, Nangloi. It came to knowledge that the person namely Shri Harish got in touch with 11KV live line while trying to pull out some cloth (saree) which was lying on 11KV line / 25KVA DT HVDS network from his house terrace /roof. It also came to notice that the person used the curtain iron pipe to pull out the cloth from the live 11KV cable. This accident was stated to be happened between 1.30PM to 2.00PM on 14.07.2018. It is also brought to your notice that all our protection system was in place and supply tripped on time right from local RMU and FSS but despite the said person did not survive as he totally ignored all the safety precaution while getting the cloth from the live 11KV line. He did not inform BSES office for switching off the power supply. The necessary detail of the deceased person who stated to be 35 years of age is given below | NIL | NIL | NIL | NIL | NIL
7 | Near Tagore School, Lalu Colony, Meethapur Village, New Delhi | 26.07.2018 at 8:20 PM | Fatal | As per information received from calls from Circle South and various public sources (Sh. Rakesh from Meethapur Village) that a PCR Complaiant exists for area Tagore School, Lalu Colony. It was learnt that a person was lying reportedly dead near a street light pole. Sh. Radheyshyam, Lineman switched off the supply of that pole and the body was removed. The area was completely waterlogged. These poles were installed 2-3 days ago as learnt from EESL team, Sh. Sujeet. BSES never provided supply to thatg pole neither it was informed tso our office about the poles energization. As gathered from site, the dead person was drunk and actual cause of death is still unknown. | NIL | NIL | NIL | NIL | NIL
8 | A-1 Block, JJ Colony, Madanpur Khadar, Ph-II, New Delhi | 29.07.2018 at about 3:30 PM | Non-Fatal | The information gathered from site reveals that Smt Meeta was picking up wet cloth which was fallen on nearby HVDS line through a broom / wiper having metal rod from the Balcony of her house A-1 / 955, JJ Colony, Madanpur Khadar, Ph-II at around 3:30 PM. The metal rod touched the HVDS line. In this process, she got electric shock. The HT Line got tripped from the RMU at Tikona Park S/Stn. She was taken to SAfdarjung Trauma Center for treatment. | NIL | NIL | NIL | NIL | NIL
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  |  | - | 158342 | 158342 | 158341 | 1 | 158342 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  |  |  | 726 | 726 | 726 | 0 | 726 | 0
Continuous power supply failure requiring replacement of distribution transformer. |  | . |  | 12 | 12 | 12 | 0 | 12 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) |  |  |  | 51701 | 51701 | 51701 | 0 | 51701 | 0
Continuous Schduled Power Outage |  |  |  | 501 | 501 | 501 | 0 | 501 | 0
Replacement of Burnt Meter or Stolen Meter |  |  | 0 | 5836 | 5836 | 4728 | 1108 | 5836 | 0
FORMAT IV: Quality of Power Supply
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem |  | 4 hours | 0 | 5853 | 5853 | 5853 | 0 | 5853 | 0
Tap setting of transformer
Repair of Distribution Line/transformer/ capacitor
Installation and Up gradation of High Tension/ Low Tension System
FORMAT V: Complaint about meters
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast |  | Within fifteen days | 1492 | 4341 | 5833 | 2434 | 377 | 2811 | 3022
Complaint lodged for accuracy test of meter-Slow |  | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter |  | Within fifteen days | 1489 | 3149 | 4638 | 2354 | 965 | 3319 | 1319
Complaint lodged for burnt meter |  | Restoration of supply with 3hrs and meter to be replaced within 3days. | 1238 | 6201 | 7439 | 4037 | 2555 | 6592 | 847
Complaint lodged for stolen meter |  |  | 1 | 50 | 51 | 33 | 12 | 45 | 6
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required |  | 7 days | 3558 | 18119 | 21677 | 13286 | 1656 | 14942 | 6735
New Connection where RoW or road Cutting permission is required |  | 15 days | 18 | 26 | 44 | 23 | 6 | 29 | 15
New Connection where no RoW or road Cutting permission is required |  | 7 days | 193 | 270 | 463 | 228 | 34 | 262 | 201
New Connection where RoW or road Cutting permission is required |  | 15 days | 8 | 5 | 13 | 4 | 3 | 7 | 6
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) |  | 15 days from receipt of payment
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. |  | Within 2 months from receipt of payment
3. Electrified areas (where new distribtion transformer is required) |  | Within 4 months from receipt of payment
4. Electrified Areas (where existing 11 KV network needs to be augmented) |  | 15 days
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) |  | 15 days
New Connections |  |  | 3576 | 18145 | 21721 | 13309 | 1662 | 14971 | 6750
Additional Load |  |  | 201 | 275 | 476 | 232 | 37 | 269 | 207
FORMAT VIII: Connection in un-electrified areas
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) |  | Within 4 months from Commission's approval | 9 | 8 | 17 | 3 | 0 | 3 | 14
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) |  | Within 12 months from Commission's approval
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name |  | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 195 | 3414 | 3609 | 3328 | 95 | 3423 | 186
Load Reduction |  | Within ten days of acceptance of application, shall be effective from next billing cycle | 250 | 3105 | 3355 | 3059 | 85 | 3144 | 211
Change of Category |  | As per Regulation 17 (5) | 60 | 492 | 552 | 435 | 54 | 489 | 63
Incase connection is denied after receipt of payment against demand note |  | - | 102 | 1348 | 1450 | 641 | 724 | 1365 | 85
Connection energized through Loop |  | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent |  | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing |  | Only one bill in a Financial Year | 383 | 1318 | 1701 | 988 | 167 | 1155 | 546
Final bill for vacation of premises / change of occupance. |  | 5 days | 40 | 143 | 183 | 148 | 0 | 148 | 35
Non payment of dues by the consumer |  | 15 days | 19 | 204 | 223 | 194 | 0 | 194 | 29
Request for reconnection |  | 24hrs | 93 | 751 | 844 | 407 | 343 | 750 | 94
Consumer wanting disconnection |  | 5 days | 885 | 3802 | 4687 | 2412 | 1434 | 3846 | 841
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month |  | Total number of distribution transformers |  | Number of Distribution transformers failed |  | % Failure rate of distribution transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
7057 |  | 10 |  | 7067 |  | 8 |  | 11.32%
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered
FORMAT XII: Failure of Power Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
No. of power transformers at the beginning of the month |  | No. of power transformers added during the month |  | Total number of power transformers |  | Number of power transformers failed |  | % Failure rate of power transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
251 |  | 0 |  | 251 |  | 0 |  | 0%
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) |  | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[6 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 158342 |  | 158341 | 1 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 726 |  | 726 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 12 |  | 12 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 51701 |  | 51701 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 501 |  | 501 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 5836 |  | 4728 | 1108 | 81.01%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 07:47hr
| Restoration of supply by 6:00 PM |  |  | NIL
3 | Faults in street light maintained by the licensee |  |  | 3220 |  | 3213 | 7 | 99.78%
Reliability Indices
4 | SAIFI |  |  | 0.15
| SAIDI |  |  | 0.17
| CAIDI |  |  | 1.1333
5 | Frequency variation |  |  | 0 |  | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 |  | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 |  | 0 | 0 | 0
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default.
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default.
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment.
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default.
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts
10 | Power Supply Failure | Power Supply Failure
11 | Total | Total
FORMAT XV: Unauthorized Use of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
No. of Cases Booked |  | No. of Cases where UUE is established by the Licensee |  | No. of cases where appeal filed by the consumer before the Appellate Authority |  | No. of cases decided by the Appellate Authority in favor of the Licensee |  | No. of cases decided by the Appellate Authority in the favor of the consumer
256 |  | 212 |  | 0 |  | 0 |  | 0
FORMAT XVI: Theft of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
No. of Cases Booked |  | No. of complaints filed by the Licensee in Police Station |  | No. of cases in which judgement delivered by the Special Court |  | No. of cases decided by the Special Court in favor of Licensee |  | No. of cases decided by the Special Court in favor of Consumer
1127 |  | 921 |  | 4 |  | 3 |  | 1

## FORMAT I
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
1 | 0 | 3 | 0 | 4 | 2 | 0 | 5 | 1 | 7
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal

## FORMAT II
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | MTNL Pole near House No. D-105, Tagore Garden Extension, Opposite Janta Pushtak Bhandar | 02.07.2018 at 21:40 Hrs Approx | Fatal | As per information received from Sh. Ajit, Head Constable, Delhi Police, a person (Unknown) electrocuted at MTNL Taubular pole on which cable TV / internet networkm was lying near H.No. D-105, Tagore Garden Extension,Opposite Janta Pustak Bhandar. Lineman attended the complaint along with police personnel and stated there was current leakage from MTNL pole only which is located 15 feet approx far from our LT network, immediately, he removed all the net cable and supoort wires from MTNL pole. At site, it is further observed that BSES LT Network is lying across the street towards the houses and no leakage of any kind observed there and while MTNL pole is situated on other side of the street 15 feet approx and no BSES Cable or Network lying or connected on that MTNL pole. Police personnel took the photographs and seized the cable TV / internet box along with wires of the same barricaded the incident area and electrocuted person taken to Deen Dayal Upadhyay Hosital, Hari Nagar prior to that as information received from site. | NIL | NIL | NIL | NIL | NIL
2 | RZ-169 / 2, Kh. No. 491, F/F, Gali No. 32, Sadh Nagar, Near Pradhan Chowk, Palam Colony, New Delhi | 06.07.2018 near about 7:00 Hrs. | Non-Fatal | Sh. Manish Kumar during his personal visit on 19.07.2018 at Sect-6. Dwarka O&M Palam Office has stated that her daughter Tamanna Yaduvanshi had accidently touched the high voltage transmission wire passing near to their balcony. | NIL | NIL | NIL | NIL | NIL
3 | Jatav Mohalla, Tughlakabad Village, New Delhi. | 09.07.2018 at 11:40 AM | Fatal | On preliminary investigation, it was found that Sh. Dhiraj Kumar, Lineman got electric shock when came in contact with live street light phase (as reported by residents). He was taken to hospital by team members. It is also informed that the switching of Street light is under the jurisdiction of MCD. | NIL | NIL | NIL | NIL | NIL
4 | Area of Rajendra Park Extension, near PoonamJewellers,Nangloi, New Delhi. | 11.07.2018 | Non-Fatal | This is to inform you that we received a telephonic complaint received on call center wide no.- 4289 dated 11/07/2018 from Sh. Vinod Kumar Goel , one unknown person might be Cable Operator was trying to tie and hang some TV / Internet cable on BSES electric Pole where live High tension 11KV HVDS cable was passing through the area of Rajendra park extn , Near Poonam Jewellers ,Nangloj , New Delhi. While trying to fix the cable on the electric pole he fell on the ground and got some physical injuries. The complained comes at 10.39 AM on dated 11-07-2018 from Rajendra park extn , Near Poonam Jewellers ,Nangloj , New Delhi.The line man reach at site at 11.15AM. and found no person found at site , they found two nos stairs at site . They also check the current or leakage in pole but they did not found the current in HVDS pole. As per near by persons and complaint , one person fell down while trying to hang TV / Internet cable on BSES electric Pole and their relatives admits him to (unknown) hospital In this connection, we would like to inform you this unauthorized person or the Cable Operator did not take any permission from BSES Department for doing the above work. He was doing it illegally without prior information and permission from the concerned Department. We also send intimation letter of above incident to SHO , NIhal Vihar | NIL | NIL | NIL | NIL | NIL
5 | D-Block, JJ Colony, Madanpur Khadar, Ph-II, New Delhi. | 14.07.2018 at about 9:00 AM | Non-Fatal | The information gathered from site reveals that Smt Babli was throwing garbage containing GI wire from the roof of her house D 153 JJ Colony Ph 2 at around 09:00 AM. The GI wire touched the HT line in proximity to her house. In the process she and her son Sh Rahul got electric shock. The HT line got tripped from the RMU at Sabzi Mandi S/stn. She and her Son was taken to Sanjeevni Hospital for Treatment. | NIL | NIL | NIL | NIL | NIL
6 | H.No. E-2 / 22 A, Shivrampark, E-2 Block, Nangloi, New Delhi | 14.07.2018 at about 1:30 PM to 2:00 PM | Fatal | I would like to bring to your kind notice regarding fatal accident happened in my sub division area on 14.07.2018 (Saturday) in which one person lost his life due to electrocution at E-2 /22A Shivram Park, Nangloi. It came to knowledge that the person namely Shri Harish got in touch with 11KV live line while trying to pull out some cloth (saree) which was lying on 11KV line / 25KVA DT HVDS network from his house terrace /roof. It also came to notice that the person used the curtain iron pipe to pull out the cloth from the live 11KV cable. This accident was stated to be happened between 1.30PM to 2.00PM on 14.07.2018. It is also brought to your notice that all our protection system was in place and supply tripped on time right from local RMU and FSS but despite the said person did not survive as he totally ignored all the safety precaution while getting the cloth from the live 11KV line. He did not inform BSES office for switching off the power supply. The necessary detail of the deceased person who stated to be 35 years of age is given below | NIL | NIL | NIL | NIL | NIL
7 | Near Tagore School, Lalu Colony, Meethapur Village, New Delhi | 26.07.2018 at 8:20 PM | Fatal | As per information received from calls from Circle South and various public sources (Sh. Rakesh from Meethapur Village) that a PCR Complaiant exists for area Tagore School, Lalu Colony. It was learnt that a person was lying reportedly dead near a street light pole. Sh. Radheyshyam, Lineman switched off the supply of that pole and the body was removed. The area was completely waterlogged. These poles were installed 2-3 days ago as learnt from EESL team, Sh. Sujeet. BSES never provided supply to thatg pole neither it was informed tso our office about the poles energization. As gathered from site, the dead person was drunk and actual cause of death is still unknown. | NIL | NIL | NIL | NIL | NIL
8 | A-1 Block, JJ Colony, Madanpur Khadar, Ph-II, New Delhi | 29.07.2018 at about 3:30 PM | Non-Fatal | The information gathered from site reveals that Smt Meeta was picking up wet cloth which was fallen on nearby HVDS line through a broom / wiper having metal rod from the Balcony of her house A-1 / 955, JJ Colony, Madanpur Khadar, Ph-II at around 3:30 PM. The metal rod touched the HVDS line. In this process, she got electric shock. The HT Line got tripped from the RMU at Tikona Park S/Stn. She was taken to SAfdarjung Trauma Center for treatment. | NIL | NIL | NIL | NIL | NIL

## FORMAT III
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | 0 | - | 158342 | 158342 | 158341 | 1 | 158342 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | 0 | 0 | 726 | 726 | 726 | 0 | 726 | 0
Continuous power supply failure requiring replacement of distribution transformer. | . | 0 | 12 | 12 | 12 | 0 | 12 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) | 0 | 0 | 51701 | 51701 | 51701 | 0 | 51701 | 0
Continuous Schduled Power Outage | 0 | 0 | 501 | 501 | 501 | 0 | 501 | 0
Replacement of Burnt Meter or Stolen Meter | 0 | 0 | 5836 | 5836 | 4728 | 1108 | 5836 | 0

## FORMAT IV
FORMAT IV: Quality of Power Supply
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem | 4 hours | 0 | 5853 | 5853 | 5853 | 0 | 5853 | 0
Tap setting of transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repair of Distribution Line/transformer/ capacitor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation and Up gradation of High Tension/ Low Tension System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT V
FORMAT V: Complaint about meters
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast | Within fifteen days | 1492 | 4341 | 5833 | 2434 | 377 | 2811 | 3022
Complaint lodged for accuracy test of meter-Slow | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter | Within fifteen days | 1489 | 3149 | 4638 | 2354 | 965 | 3319 | 1319
Complaint lodged for burnt meter | Restoration of supply with 3hrs and meter to be replaced within 3days. | 1238 | 6201 | 7439 | 4037 | 2555 | 6592 | 847
Complaint lodged for stolen meter |  | 1 | 50 | 51 | 33 | 12 | 45 | 6

## FORMAT VI
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required | 7 days | 3558 | 18119 | 21677 | 13286 | 1656 | 14942 | 6735
New Connection where RoW or road Cutting permission is required | 15 days | 18 | 26 | 44 | 23 | 6 | 29 | 15
New Connection where no RoW or road Cutting permission is required | 7 days | 193 | 270 | 463 | 228 | 34 | 262 | 201
New Connection where RoW or road Cutting permission is required | 15 days | 8 | 5 | 13 | 4 | 3 | 7 | 6

## FORMAT VII
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) | 15 days from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. | Within 2 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Electrified areas (where new distribtion transformer is required) | Within 4 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Electrified Areas (where existing 11 KV network needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connections |  | 3576 | 18145 | 21721 | 13309 | 1662 | 14971 | 6750
Additional Load |  | 201 | 275 | 476 | 232 | 37 | 269 | 207

## FORMAT VIII
FORMAT VIII: Connection in un-electrified areas
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) | Within 4 months from Commission's approval | 9 | 8 | 17 | 3 | 0 | 3 | 14
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT IX
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 195 | 3414 | 3609 | 3328 | 95 | 3423 | 186
Load Reduction | Within ten days of acceptance of application, shall be effective from next billing cycle | 250 | 3105 | 3355 | 3059 | 85 | 3144 | 211
Change of Category | As per Regulation 17 (5) | 60 | 492 | 552 | 435 | 54 | 489 | 63
Incase connection is denied after receipt of payment against demand note | - | 102 | 1348 | 1450 | 641 | 724 | 1365 | 85
Connection energized through Loop | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT X
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing | Only one bill in a Financial Year | 383 | 1318 | 1701 | 988 | 167 | 1155 | 546
Final bill for vacation of premises / change of occupance. | 5 days | 40 | 143 | 183 | 148 | 0 | 148 | 35
Non payment of dues by the consumer | 15 days | 19 | 204 | 223 | 194 | 0 | 194 | 29
Request for reconnection | 24hrs | 93 | 751 | 844 | 407 | 343 | 750 | 94
Consumer wanting disconnection | 5 days | 885 | 3802 | 4687 | 2412 | 1434 | 3846 | 841

## FORMAT XI
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month | Total number of distribution transformers | Failed transformer | % Failure rate of distribution transformers
1 |  | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
7057 |  | 10 | 7067 | 8 | 11.32%
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered

## FORMAT XII
FORMAT XI: Failure of Power Transformer
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
No. of power transformers at the beginning of the month | No. of power transformers added during the month | Total number of power transformers | Number of power transformers failed | % Failure rate of power transformers
1 | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
251 | 0 | 251 | 0 | 0%
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XIII
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[5 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 158342 | 158341 | 1 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 726 | 726 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 12 | 12 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 51701 | 51701 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 501 | 501 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 5836 | 4728 | 1108 | 81.01%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 07:47hr | 0 | 0 | 0%
| Restoration of supply by 6:00 PM |  |  | NIL | 0 | 0 | 0%
3 | Faults in street light maintained by the licensee |  |  | 3220 | 3213 | 7 | 99.78%
Reliability Indices
4 | SAIFI |  |  | 0.15 | 0 | 0 | 0
| SAIDI |  |  | 0.17 | 0 | 0 | 0
| CAIDI |  |  | 1.1333 | 0 | 0 | 0
5 | Frequency variation |  |  | 0 | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 | 0 | 0 | 0

## FORMAT XIV
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2018-07-01
Year: |  | 2018
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections |  |  |  | 0 | 0 | 0 | 0 | 0
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default. |  | 0 | 0 | 0 | 0 | 0
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default | 0 | 0 | 0 | 0 | 0
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default. | 0 | 0 | 0 | 0 | 0
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 0 | 0 | 0 | 0 | 0
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand | 0 | 0 | 0 | 0 | 0
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default. | 0 | 0 | 0 | 0 | 0
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case | 0 | 0 | 0 | 0 | 0
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed | 0 | 0 | 0 | 0 | 0
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default | 0 | 0 | 0 | 0 | 0
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default | 0 | 0 | 0 | 0 | 0
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts |  |  | 0 | 0 | 0 | 0 | 0
10 | Power Supply Failure | Power Supply Failure |  |  | 0 | 0 | 0 | 0 | 0
11 | Total | Total |  |  | 0 | 0 | 0 | 0 | 0

## FORMAT XV
FORMAT XV: Unauthorized Use of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
No. of Cases Booked | No. of Cases where UUE is established by the Licensee | No. of cases where appeal filed by the consumer before the Appellate Authority | No. of cases decided by the Appellate Authority in favor of the Licensee | No. of cases decided by the Appellate Authority in the favor of the consumer
256 | 212 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XVI
FORMAT XVI: Theft of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2018-07-01
Year: | 2018
No. of Cases Booked | No. of complaints filed by the Licensee in Police Station | No. of cases in which judgement delivered by the Special Court | No. of cases decided by the Special Court in favor of Licensee | No. of cases decided by the Special Court in favor of Consumer
1127 | 921 | 4 | 3 | 1
0 | 0 | 0 | 0 | 0