## Sheet1
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
0 | 0 | 2 | 0 | 2 | 3 | 3 | 7 | 1 | 6
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | A-15 Pushpanjali Bijwasan, New Delhi.(An unknown person from public) | 06.09.2021 at 15:08 Hrs. | Non-Fatal | A telephonic message was received on 14.09.2021 to Sh. K.S.Rawat, AsVP EHV (Trl) South-II from Electrical Inspector that an accident occurred on dated 06.09.2021 in Mallu Farm, A-15 Pushpanjali, Bijwasan, New Delhi. The same message was conveyed to Sh C P Kashyap AM EHV TRL South-II for inspecting the site. The concerned Engr reached at the site on dated 15.09.2021and asked from the guard of farm house about the incident, but he did not co-operate us and refused to give the any information about the incident. The ground clearance of lowest conductor is 6.1 Mtr.(B-phase) | N.A. | N.A. | N.A. | N.A. | N.A.
2 | In front of H. No. 6A, Taimoor Nagar, Sardar Mohalla, New Delhi. (Sh. Harjeet Singh, General Public) | 11.09.2021 at about 16:29 Hrs. | Non-Fatal | It has been report that a No Power Supply Complaint was received on 11.09.2021 at 16:29 Hrs. vide complaint No. 21091105375 from complainant A-4, Reliance Fresh, Taimoor Nagar. Accordingly our field team reached at site location and it was found that there is local power outage in the area i.e. Sardar Mohalla. The supply of Sardar Mohalla is running from H-Block, Maharani Bagh Sub-Station through LT under ground feeder (4*300 sq.mm). This LT Cable terminates at LT Pole near 4A, Sardar Mohalla. Therefore, team has isolated the faulty section (under ground LT cable) and back feeded the said area power supply. Further on dated 12.09.2021 (Sunday) our field team along with digging staff visited to check the fault and took corrective action. Team had surveyed the area and came to know from the local residents that there was a flash occurred yesterday (11.09.2021). Therefore, our digging staff started digging at flash point location, however, after digging of some portion, local residents have stopped the digging work saying that yesterday due to the flash at digging site, one person got burnt in his leg and local police is investsing the matter, so further digging was not allowed. Next day on dated 13.09.2021, Sh. Sarfraz Khan, SDO reached the police station New Friends Colony and met with S.I Sh. Vishnu regarding details of the case. Through him, he came to know that Sh. Harjeet Singh resident of Sardar Mohalla was standing near to the flash location & subsequently he got some flash / burn in his leg. On dated 15.09.2021, Joint Visit comprising Sh. Sarfraz Khan, SDO and Sh. Ravi Kumar, Electrical Inspector and Mr. Daya Ram & Mr. Kapil (Police HC) was carried out. Mr. Deepak Kumar, subordiate of Sh. Sarfraz Khan, SDO has also accompanied the joint visit. At flash point location, as per the direction of Electrical Inspector digging was done to identify the cause. After digging, it was revealed that an Old Joint (Channel Cover / Wrap around sleeve) which is more than 5 year old was failed. It was resulted the flash. The old failed joint had been handed over to the police H.C. Mr. Kapil as he desired. | N.A. | N.A. | N.A. | N.A. | N.A.
3 | PCC Pole Near C-15, Sanjay Colony, Bhati Mines, Near Chidiya Ghar, Delhi-110074. (Sh. Mahendra Kumar, General Public) | 11.09.2021 at 8:30 PM Approx. | Fatal | Sh. P. Baskar, SDO, Fatehpuri Beri has informed vide his mail dated 11.09.2021 that on 10.09.2021 he had received a complaint of electrocution of one person at C-15 Bhati Mines, Near Chidiya Ghar at 8:30 PM from LM Mr. Awdhesh kumar (off duty) telephonically then he had put off the HT Feeder at 08:35 PM from SSTN Alu Mode Bhati Mines, at that time it was also heavy raining there. Then Duty LM Shri Shakoor and ALM Md. Feroz along with Shri Awdhesh Kumar (LM) reached at site and no electrocuted person found at site and there are water logging and mud found at site. Then team checked Pole and no current leakage deficiency found at site after that team restored the supply and re-checked at pole, but there was no leakage current found. Due to public resistance LM has to remove the earth wire from the site. Near about 10 PM, Sh. Baskar has received message that above said person had dismissed. On 11.09.2021, same site has been jointly inspected in presence of Sh. Rishi Sharma, DH (O&M) SKT (Rural) and Safety team (Sh. Rajendra Yadav & Sh. Krishan Goswami). There was water logging and mud at site, but there was no leakage current found on pole. Demised person -Shri Mahender Kumar S/o Sh. Khan Chand, Residence of H.No. C-126, Bhati Mines. New Delhi-74. System Complaint No- 21091003283 Time -09:05 PM. | N.A. | N.A. | N.A. | N.A. | N.A.
4 | B-Block, JJ Colony, Khanpur, New Delhi. (Master Tasleem S/o Mr. Akleem, General Public) | 22.09.2021 at 16:45 Hrs. | Fatal | A current leakage complaint at B-Block, JJ Colony, Khanpur was received through System Control at 4:45 PM at Khanpur DSK. Lineman was immediately rushed to the site and he found that there was a large gathering and people present there told that three children are electrocuted when they came in contact with park railing / fencing. He observed that a disconnected unauthorized flexible wire (Black Coloured 2 core wire) found hanging at site and on checking he did not find any current in the railing / fencing of the park. First impression which he could understand was that people responsible for unauthorized wires pulled and removed these wires to safeguard themselves and may be to elimate leakage in the fencing / railing. The incident occurred at B-Block, JJ Colony, Khanpur area, there are many jhuggies and residents of these jhuggies have made several temporary small shops on footpath like cigaratte, fish vendors and presswala etc. along the boundary wall of park. Unauthorized illegal wires are extending from jhuggies sites towards these temporary roadsides / footpath shops duly supported on trees / fencing / concertina wires etc. It was also learnt that one of the three children electrouted resulted into fatal. Other two have been relieved from hospital after first aid. It was also learnt that one of these shops is owned by victim's family itself. Pictures have been captured from the site.
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  |  | - | 35620 | 35620 | 35620 | 0 | 35620 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  |  |  | 820 | 820 | 820 | 0 | 820 | 0
Continuous power supply failure requiring replacement of distribution transformer. |  |  |  | 2 | 2 | 2 | 0 | 2 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) |  |  |  | 11780 | 11780 | 11780 | 0 | 11780 | 0
Continuous Schduled Power Outage |  |  |  | 679 | 679 | 679 | 0 | 679 | 0
Replacement of Burnt Meter or Stolen Meter |  |  | 364 | 2679 | 3043 | 2220 | 542 | 2762 | 281
FORMAT IV: Quality of Power Supply
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem |  | 4 hours | 0 | 712 | 712 | 712 | 0 | 712 | 0
Tap setting of transformer
Repair of Distribution Line/transformer/ capacitor
Installation and Up gradation of High Tension/ Low Tension System
FORMAT V: Complaint about meters
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast |  | Within fifteen days | 3241 | 4332 | 7573 | 3195 | 1677 | 4872 | 2701
Complaint lodged for accuracy test of meter-Slow |  | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter |  | Within fifteen days | 495 | 2196 | 2691 | 1262 | 982 | 2244 | 447
Complaint lodged for burnt meter |  | Restoration of supply with 3hrs and meter to be replaced within 3days. | 728 | 3065 | 3793 | 1640 | 1685 | 3325 | 468
Complaint lodged for stolen meter |  |  | 9 | 66 | 75 | 41 | 29 | 70 | 5
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required |  | 7 days | 6930 | 22255 | 29185 | 17825 | 4048 | 21873 | 7312
New Connection where RoW or road Cutting permission is required |  | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connection where no RoW or road Cutting permission is required |  | 7 days | 151 | 471 | 622 | 401 | 42 | 443 | 179
New Connection where RoW or road Cutting permission is required |  | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) |  | 15 days from receipt of payment
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. |  | Within 2 months from receipt of payment
3. Electrified areas (where new distribtion transformer is required) |  | Within 4 months from receipt of payment
4. Electrified Areas (where existing 11 KV network needs to be augmented) |  | 15 days
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) |  | 15 days
New Connections |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Load |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT VIII: Connection in un-electrified areas
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) |  | Within 4 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) |  | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name |  | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 285 | 3234 | 3519 | 3167 | 125 | 3292 | 227
Load Reduction |  | Within ten days of acceptance of application, shall be effective from next billing cycle | 139 | 1272 | 1411 | 1251 | 51 | 1302 | 109
Change of Category |  | As per Regulation 17 (5) | 265 | 543 | 808 | 409 | 46 | 455 | 353
Incase connection is denied after receipt of payment against demand note |  | - | 158 | 1948 | 2106 | 690 | 1310 | 2000 | 106
Connection energized through Loop |  | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent |  | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing |  | Only one bill in a Financial Year | 704 | 726 | 1430 | 575 | 91 | 666 | 764
Final bill for vacation of premises / change of occupance. |  | 5 days | 105 | 173 | 278 | 182 | 41 | 223 | 55
Non payment of dues by the consumer |  | 15 days | 22 | 174 | 196 | 170 | 6 | 176 | 20
Request for reconnection |  | 24hrs | 92 | 660 | 752 | 446 | 201 | 647 | 105
Consumer wanting disconnection |  | 5 days | 916 | 5150 | 6066 | 3123 | 2148 | 5271 | 795
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month |  | Total number of distribution transformers |  | Number of Distribution transformers failed |  | % Failure rate of distribution transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
7724 |  | 30 |  | 7754 |  | 2 |  | 2.579%
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered
FORMAT XII: Failure of Power Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
No. of power transformers at the beginning of the month |  | No. of power transformers added during the month |  | Total number of power transformers |  | Number of power transformers failed |  | % Failure rate of power transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
265 |  | 0 |  | 265 |  | 0 |  | 0%
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) |  | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[6 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 35620 |  | 35620 | 0 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 820 |  | 820 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 2 |  | 2 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 11780 |  | 11780 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 679 |  | 679 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 2428 |  | 2426 | 2 | 99.92%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 5H:21M
| Restoration of supply by 6:00 PM |  |  | ALL
3 | Faults in street light maintained by the licensee |  |  | 2428 |  | 2426 | 2 | 99.92%
Reliability Indices
4 | SAIFI |  |  | 0.27
| SAIDI |  |  | 0.18
| CAIDI |  |  | 0.66667
5 | Frequency variation |  |  | 0 |  | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 |  | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 |  | 0 | 0 | 0
* New method used for reliabilty index calculation*
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default.
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default.
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment.
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default.
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts
10 | Power Supply Failure | Power Supply Failure
11 | Total | Total
FORMAT XV: Unauthorized Use of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
No. of Cases Booked |  | No. of Cases where UUE is established by the Licensee |  | No. of cases where appeal filed by the consumer before the Appellate Authority |  | No. of cases decided by the Appellate Authority in favor of the Licensee |  | No. of cases decided by the Appellate Authority in the favor of the consumer
103 |  | 81 |  | 0 |  | 6 |  | 0
FORMAT XVI: Theft of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
No. of Cases Booked |  | No. of complaints filed by the Licensee in Police Station |  | No. of cases in which judgement delivered by the Special Court |  | No. of cases decided by the Special Court in favor of Licensee |  | No. of cases decided by the Special Court in favor of Consumer
1318 |  | 1118 |  | 0 |  | 0 |  | 0

## FORMAT I
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
0 | 0 | 2 | 0 | 2 | 3 | 3 | 7 | 1 | 6
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal

## FORMAT II
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | A-15 Pushpanjali Bijwasan, New Delhi.(An unknown person from public) | 06.09.2021 at 15:08 Hrs. | Non-Fatal | A telephonic message was received on 14.09.2021 to Sh. K.S.Rawat, AsVP EHV (Trl) South-II from Electrical Inspector that an accident occurred on dated 06.09.2021 in Mallu Farm, A-15 Pushpanjali, Bijwasan, New Delhi. The same message was conveyed to Sh C P Kashyap AM EHV TRL South-II for inspecting the site. The concerned Engr reached at the site on dated 15.09.2021and asked from the guard of farm house about the incident, but he did not co-operate us and refused to give the any information about the incident. The ground clearance of lowest conductor is 6.1 Mtr.(B-phase) | N.A. | N.A. | N.A. | N.A. | N.A.
2 | In front of H. No. 6A, Taimoor Nagar, Sardar Mohalla, New Delhi. (Sh. Harjeet Singh, General Public) | 11.09.2021 at about 16:29 Hrs. | Non-Fatal | It has been report that a No Power Supply Complaint was received on 11.09.2021 at 16:29 Hrs. vide complaint No. 21091105375 from complainant A-4, Reliance Fresh, Taimoor Nagar. Accordingly our field team reached at site location and it was found that there is local power outage in the area i.e. Sardar Mohalla. The supply of Sardar Mohalla is running from H-Block, Maharani Bagh Sub-Station through LT under ground feeder (4*300 sq.mm). This LT Cable terminates at LT Pole near 4A, Sardar Mohalla. Therefore, team has isolated the faulty section (under ground LT cable) and back feeded the said area power supply. Further on dated 12.09.2021 (Sunday) our field team along with digging staff visited to check the fault and took corrective action. Team had surveyed the area and came to know from the local residents that there was a flash occurred yesterday (11.09.2021). Therefore, our digging staff started digging at flash point location, however, after digging of some portion, local residents have stopped the digging work saying that yesterday due to the flash at digging site, one person got burnt in his leg and local police is investsing the matter, so further digging was not allowed. Next day on dated 13.09.2021, Sh. Sarfraz Khan, SDO reached the police station New Friends Colony and met with S.I Sh. Vishnu regarding details of the case. Through him, he came to know that Sh. Harjeet Singh resident of Sardar Mohalla was standing near to the flash location & subsequently he got some flash / burn in his leg. On dated 15.09.2021, Joint Visit comprising Sh. Sarfraz Khan, SDO and Sh. Ravi Kumar, Electrical Inspector and Mr. Daya Ram & Mr. Kapil (Police HC) was carried out. Mr. Deepak Kumar, subordiate of Sh. Sarfraz Khan, SDO has also accompanied the joint visit. At flash point location, as per the direction of Electrical Inspector digging was done to identify the cause. After digging, it was revealed that an Old Joint (Channel Cover / Wrap around sleeve) which is more than 5 year old was failed. It was resulted the flash. The old failed joint had been handed over to the police H.C. Mr. Kapil as he desired. | N.A. | N.A. | N.A. | N.A. | N.A.
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | PCC Pole Near C-15, Sanjay Colony, Bhati Mines, Near Chidiya Ghar, Delhi-110074. (Sh. Mahendra Kumar, General Public) | 11.09.2021 at 8:30 PM Approx. | Fatal | Sh. P. Baskar, SDO, Fatehpuri Beri has informed vide his mail dated 11.09.2021 that on 10.09.2021 he had received a complaint of electrocution of one person at C-15 Bhati Mines, Near Chidiya Ghar at 8:30 PM from LM Mr. Awdhesh kumar (off duty) telephonically then he had put off the HT Feeder at 08:35 PM from SSTN Alu Mode Bhati Mines, at that time it was also heavy raining there. Then Duty LM Shri Shakoor and ALM Md. Feroz along with Shri Awdhesh Kumar (LM) reached at site and no electrocuted person found at site and there are water logging and mud found at site. Then team checked Pole and no current leakage deficiency found at site after that team restored the supply and re-checked at pole, but there was no leakage current found. Due to public resistance LM has to remove the earth wire from the site. Near about 10 PM, Sh. Baskar has received message that above said person had dismissed. On 11.09.2021, same site has been jointly inspected in presence of Sh. Rishi Sharma, DH (O&M) SKT (Rural) and Safety team (Sh. Rajendra Yadav & Sh. Krishan Goswami). There was water logging and mud at site, but there was no leakage current found on pole. Demised person -Shri Mahender Kumar S/o Sh. Khan Chand, Residence of H.No. C-126, Bhati Mines. New Delhi-74. System Complaint No- 21091003283 Time -09:05 PM. | N.A. | N.A. | N.A. | N.A. | N.A.

## FORMAT III
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | 0 | - | 35620 | 35620 | 35620 | 0 | 35620 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | 0 | 0 | 820 | 820 | 820 | 0 | 820 | 0
Continuous power supply failure requiring replacement of distribution transformer. | 0 | 0 | 2 | 2 | 2 | 0 | 2 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) | 0 | 0 | 11780 | 11780 | 11780 | 0 | 11780 | 0
Continuous Schduled Power Outage | 0 | 0 | 679 | 679 | 679 | 0 | 679 | 0
Replacement of Burnt Meter or Stolen Meter | 0 | 364 | 2679 | 3043 | 2220 | 542 | 2762 | 281

## FORMAT IV
FORMAT IV: Quality of Power Supply
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem | 4 hours | 0 | 712 | 712 | 712 | 0 | 712 | 0
Tap setting of transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repair of Distribution Line/transformer/ capacitor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation and Up gradation of High Tension/ Low Tension System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT V
FORMAT V: Complaint about meters
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast | Within fifteen days | 3241 | 4332 | 7573 | 3195 | 1677 | 4872 | 2701
Complaint lodged for accuracy test of meter-Slow | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter | Within fifteen days | 495 | 2196 | 2691 | 1262 | 982 | 2244 | 447
Complaint lodged for burnt meter | Restoration of supply with 3hrs and meter to be replaced within 3days. | 728 | 3065 | 3793 | 1640 | 1685 | 3325 | 468
Complaint lodged for stolen meter |  | 9 | 66 | 75 | 41 | 29 | 70 | 5

## FORMAT VI
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required | 7 days | 6930 | 22255 | 29185 | 17825 | 4048 | 21873 | 7312
New Connection where RoW or road Cutting permission is required | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connection where no RoW or road Cutting permission is required | 7 days | 151 | 471 | 622 | 401 | 42 | 443 | 179
New Connection where RoW or road Cutting permission is required | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT VII
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) | 15 days from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. | Within 2 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Electrified areas (where new distribtion transformer is required) | Within 4 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Electrified Areas (where existing 11 KV network needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connections |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Load |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT VIII
FORMAT VIII: Connection in un-electrified areas
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) | Within 4 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT IX
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 285 | 3234 | 3519 | 3167 | 125 | 3292 | 227
Load Reduction | Within ten days of acceptance of application, shall be effective from next billing cycle | 139 | 1272 | 1411 | 1251 | 51 | 1302 | 109
Change of Category | As per Regulation 17 (5) | 265 | 543 | 808 | 409 | 46 | 455 | 353
Incase connection is denied after receipt of payment against demand note | - | 158 | 1948 | 2106 | 690 | 1310 | 2000 | 106
Connection energized through Loop | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT X
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing | Only one bill in a Financial Year | 704 | 726 | 1430 | 575 | 91 | 666 | 764
Final bill for vacation of premises / change of occupance. | 5 days | 105 | 173 | 278 | 182 | 41 | 223 | 55
Non payment of dues by the consumer | 15 days | 22 | 174 | 196 | 170 | 6 | 176 | 20
Request for reconnection | 24hrs | 92 | 660 | 752 | 446 | 201 | 647 | 105
Consumer wanting disconnection | 5 days | 916 | 5150 | 6066 | 3123 | 2148 | 5271 | 795

## FORMAT XI
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month | Total number of distribution transformers | Failed transformer | % Failure rate of distribution transformers
1 |  | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
7724 |  | 30 | 7754 | 2 | 2.579%
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered

## FORMAT XII
FORMAT XII: Failure of Power Transformer
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
No. of power transformers at the beginning of the month | No. of power transformers added during the month | Total number of power transformers | Number of power transformers failed | % Failure rate of power transformers
1 | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
265 | 0 | 265 | 0 | 0%
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XIII
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[5 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 35620 | 35620 | 0 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 820 | 820 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 2 | 2 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 11780 | 11780 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 679 | 679 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 2428 | 2426 | 2 | 99.92%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 5H:21M | 0 | 0 | 0%
| Restoration of supply by 6:00 PM |  |  | ALL | 0 | 0 | 0%
3 | Faults in street light maintained by the licensee |  |  | 2428 | 2426 | 2 | 99.92%
Reliability Indices
4 | SAIFI |  |  | 0.27 | 0 | 0 | 0
| SAIDI |  |  | 0.18 | 0 | 0 | 0
| CAIDI |  |  | 0.66667 | 0 | 0 | 0
5 | Frequency variation |  |  | 0 | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 | 0 | 0 | 0

## FORMAT XIV
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2021-09-01
Year: |  | 2021
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections |  |  |  | 0 | 0 | 0 | 0 | 0
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default. |  | 0 | 0 | 0 | 0 | 0
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default | 0 | 0 | 0 | 0 | 0
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default. | 0 | 0 | 0 | 0 | 0
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 0 | 0 | 0 | 0 | 0
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand | 0 | 0 | 0 | 0 | 0
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default. | 0 | 0 | 0 | 0 | 0
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case | 0 | 0 | 0 | 0 | 0
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed | 0 | 0 | 0 | 0 | 0
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default | 0 | 0 | 0 | 0 | 0
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default | 0 | 0 | 0 | 0 | 0
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts |  |  | 0 | 0 | 0 | 0 | 0
10 | Power Supply Failure | Power Supply Failure |  |  | 0 | 0 | 0 | 0 | 0
11 | Total | Total |  |  | 0 | 0 | 0 | 0 | 0

## FORMAT XV
FORMAT XV: Unauthorized Use of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
No. of Cases Booked | No. of Cases where UUE is established by the Licensee | No. of cases where appeal filed by the consumer before the Appellate Authority | No. of cases decided by the Appellate Authority in favor of the Licensee | No. of cases decided by the Appellate Authority in the favor of the consumer
103 | 81 | 0 | 6 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XVI
FORMAT XVI: Theft of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2021-09-01
Year: | 2021
No. of Cases Booked | No. of complaints filed by the Licensee in Police Station | No. of cases in which judgement delivered by the Special Court | No. of cases decided by the Special Court in favor of Licensee | No. of cases decided by the Special Court in favor of Consumer
1318 | 1118 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0